Protocol of HDAC I/II HCT-116 Cell-based Assay for High-throughput Screening

| DOCUMENT: |  | HDAC I/II_TOX21_SLP_Version1.0 |
| --- | --- | --- |
| TITLE: |  | Protocol of HDAC I/II HCT-116 Cell-based Assay for High-throughput Screening |

ASSAY RFERENCES:

| Assay Target | Cell Lines | Species | Tissue of Origin | Assay Readout | Assay Provider | Toxicity Pathway |
| --- | --- | --- | --- | --- | --- | --- |
| Histone Deacetylase class I and II | HCT-116 | Human | Colorectal carcinoma | Luminescence | Promega | Histone Deacetylases |

QUALITY CONTROL PRECAUTIONS:

1. -Cell culture is maintained by passing the cells twice a week and should not reach more than 90% confluence

MATERIALS and INSTRUMENTS:

| Supplies/Medium/Reagent | Manufacturer | Vender/Catalog Number |
| --- | --- | --- |
| -McCoys 5a Medium | -ATCC | -ATCC/30-2007 |
| -Fetal Bovine Serum | -ATCC | -ATCC/30-2020 |
| -Penn-strep | -Invitrogen | -Invitrogen/15140 |
| -Trichostatin A (Positive control compound) | -Selleckchem | -Selleckchem/S1045 |
| -Tetraoctyl ammonium bromide (Positive control for Cytotoxicity) | -Sigma Aldrich | -Sigma Aldrich/294136 |
| -Recovery Cell Culture Freezing Medium | -Invitrogen | -Invitrogen/12648 |
| -0.25% Trypsin-EDTA | -Invitrogen | -Invitrogen/25200 |
| -Triton X-100 | -Sigma Aldrich | -Sigma Aldrich/T8787 |
| -HDAC-Glo(TM) I/II Assay | -Promega | -Promega/G6422 |
| -CellTiter-Glo(R) One Solution Assay | -Promega | -Promega/G8462 |
| -BioRAPTR FRD dispenser | -Beckman Coulter | -Beckman Coulter |
| -White-solid bottom, Tissue treated 1536-well assay plates | -Greiner Bio-one | -Greiner Bio-one/789173-F |
| -Multidrop COMBI | -Thermo Electron Corporation | -Thermo Electron Corporation |
| -ViewLux Plate Reader | -Perkin Elmer | -Perkin Elmer |

PROCEDURE:

1. Cell handling:

1.1. Media Required:

| Component | Growth Medium | Assay Medium | Thaw Medium | Freezing Medium |
| --- | --- | --- | --- | --- |
| -McCoys 5a Medium | -90% | -90% | -90% | - |
| -Fetal Bovine Serum | -10% | -10% | -10% | - |
| -Penn-strep | -100U/ml-100ug/ml | -100U/ml-100ug/ml | -100U/ml-100ug/ml | - |
| -Recovery Cell Culture Freezing Medium | - | - | - | -100% |

1.2. Thawing method

1.2.1 -Remove the vial of cells to be thawed from liquid nitrogen and thaw rapidly by placing at 37C in a water bath with gentle agitation for 1-2 minutes. Do not submerge vial in water.

1.2.2 -Take 1mL of frozen HCT-116 cells in pre-warmed 9ml of thaw medium and centrifuge.

1.2.3 -The cells were seeded in T-75 flask at 2 million cells

1.3. Propagation method

1.3.1 -Aspirate medium, rinse twice in DPBS and add 0.25% Trypsin/EDTA (3 mL for a T75 flask) and swirl to coat the cell evenly.

1.3.2 -Add an equal volume of Growth Medium to inactivate Trypsin after 2-3 minutes incubation at 37C and then collect it into a tube for centrifugation.

1.3.3 -The cells can be further passed to the next passage if required.

2. Assay Protocol

2.1 -Harvest cells from the culture and make it to a density of 0.3X10⁶ cells/mL.

2.2 -Dispense 1500 cells in 5uL of the culture medium per well into 1536-well tissue treated white solid bottom plates using a Multidrop Combi dispenser.

2.3 -Incubate at 37C for an overnight (18-20hrs).

2.4 -Transfer 23nL of compounds from the library collection into 5-48 columns and positive control into 1-4 columns using a Pintool station.

2.5 -Incubate at 37C for 2hrs.

2.6 -Add 4uL of CellTiter-Glo reagent using a single tip of a BioRAPTR dispenser.

2.7 -Incubate at room temperature for 30min

2.8 -Read the luminescence intensity using ViewLux plate reader (Exposure time = 1sec).