Protocol of Cell-based hERG Potassium Ion Channel Assay for High-throughput Screening

| DOCUMENT: |  | hERG-U2OS_TOX21_SLP_Version1.0 |
| --- | --- | --- |
| TITLE: |  | Protocol of Cell-based hERG Potassium Ion Channel Assay for High-throughput Screening |

ASSAY RFERENCES:

| Assay Target | Cell Lines | Species | Tissue of Origin | Assay Readout | Assay Provider | Toxicity Pathway |
| --- | --- | --- | --- | --- | --- | --- |
| hERG | U2OS | Human | Osteosarcoma | Thallium influx Fluorecsnce | Codex | hERG potassium ion channel |

QUALITY CONTROL PRECAUTIONS:

1. Handle the 1536-well, black-wall, clear-bottom assay plate by the sides; do not touch the clear bottom of the assay plate.

MATERIALS and INSTRUMENTS:

| Supplies/Medium/Reagent | Manufacturer | Vender/Catalog Number |
| --- | --- | --- |
| DMEM with Glutamin | Invitrogen | 10566 |
| Fetal bovine serum | Invitrogen | 26140 |
| Nonessential amino acids (NEAA) | Invitrogen | 11140 |
| Penicillin/Streptomycin | Invitrogen | 15140 |
| 0.25% Trypsin/EDTA | Invitrogen | 25300 |
| Puromycin | Invitrogen |  |
| DMSO | Sigma |  |
| Recovery Cell Culture | Invitrogen | 12648 |
| FDSS 7700EX kinetic plate reader | Hamamatsu |  |
| Black-wall, clear-bottom, 1536-well assay plate | Greiner Bio-One | 789092F |
| FluxOR II green potassium ion channel assay kit | Thermo | F20016 |

PROCEDURE:

1. Cell handling:

1.1 Media Required:

| Component | Growth Medium | Assay Medium | Thaw Medium | Freezing Medium |
| --- | --- | --- | --- | --- |
| DMEM with Glutamin | 89% |  | 90% |  |
| FBS | 10% |  | 10% |  |
| NEAA | 1% |  |  |  |
| Penicillin/Streptomycin | 50 U/mL/50 µg/mL |  | 50 U/mL/50 µg/mL |  |
| Puromycin | 1 µg/mL |  |  |  |
| Recovery Cell Culture |  |  |  | 100% |

1.2 Thawing method

1.2.1 Place 14 mL of pre-warmed thaw medium into a 15 mL of conical tub.

1.2.2 Remove the vial of cells from liquid nitrogen and thaw rapidly by placing at 37°C in a water bath with gentle agitation for 1-2 minutes.

1.2.3 Decontaminate the vial by wiping with 70% ethanol before opening in a biological safety cabinet.

1.2.4 Transfer cells into 14 mL of thaw medium in a sterile 15 mL conical tube.

1.2.5 Centrifuge cells at 900 rpm for 4 minutes and resuspend in thaw medium.

1.2.6 Transfer cells to the T225 tissue culture flask and place flask in a humidified 37°C/5% CO2 incubator.

1.2.7 Switch to growth medium at first passage.

1.3 Propagation method

1.3.1 Aspirate medium, rinse once in DPBS, add 0.25% Trypsin/EDTA and swirl to coat the cell evenly.

1.3.2 Add an equal volume of Growth Medium to inactivate Trypsin after 2-3 minutes incubation at 37°C.

1.3.3 Centrifuge cells at 900 rpm for 4 minutes and resuspend in growth medium.

1.3.4 Cell should be passage or fed at least twice a week.

2. Assay Protocol

2.1 Harvest cells from culture and resuspend the cells in culture medium.

2.2 Dispense 1000 cells/3 µL/well into 1536-well, black/clear/bottom assay plate using a Multidrop dispenser.

2.3 After the cells were incubated at 37°C and 5% CO2 for 16 hours, 3uL of Loading Buffer was added to each well

2.4 Incubate the plates in at RT in the dark for 1h

2.5 23 nL of compounds dissolved in DMSO, positive controls or DMSO were transferred to the assay plate by a PinTool resulting in a 217-fold dilution

2.6 Incubate the assay plates for 10 min at RT.

2.7 Add 1.5 µL of Stimulation Buffer

2.8 Following adding Stimulation Buffer, fluorescence intensity was continuously measured for 2 min at 1 second interval in the FDSS 700EX kinetic plate reader.

3. Assay performance:

| hERG-U2SO | Online Validation (Mean ± SD) (n=27) | Online Validation Viability (Mean ± SD) (n=27) |
| --- | --- | --- |
| EC50 (uM) | 0.17 ± 0.03 | n/a |
| S/B | 4.71 ± 0.21 | n/a |
| CV (%) | 3.77 ± 0.59 | n/a |
| Z’ | 0.85 ± 0.03 | n/a |